## Overall
OVERALL BID (SUMMARY OF ALL SECTIONS)
Item No | Description | Extended Price
1 | DEMOLITION
2 | EARTHWORK
3 | PAVEMENT
4 | LIGHTING/SIGNAGE
5 | STORM SEWER
6 | SANITARY SEWER
7 | WATER
8 | EROSION CONTROL
9 | LANDSCAPE
Total of Extended Prices for Unit Price Work (subject to final adjustment based on actual quantities)

## Demolition
DEMOLITION BID FORM (C100)
Item No | Description | Unit | Estimated Quantity | Unit Price | Extended Price
1 | CLEARING | LS | 1
2 | STORM GRATE REPLACE | EA | 1
3 | STORM/COMBO STR. REPLACED W/ FLAT GRATE | EA | 2
4 | STORM/COMBO STR. REMOVED | EA | 8
5 | TREES/BRUSH REMOVED | LS | 1 | SEE ITEM 1 | SEE ITEM 1
6 | LIGHT POLE REMOVED | EA | 8
7 | UTILITY POLE REMOVED | EA | 1
8 | FENCE REMOVED | LF | 2762
9 | BASKETBALL HOOP REMOVED | EA | 4
10 | SWINGSET/PLAYGROUND EQUIPMENT REMOVED | EA | 3
11 | WATER FOUINTAIN REMOVED | EA | 1
12 | WOODEN STAIRS REMOVED | EA | 1
13 | BUILDING & FOUNDATION REMOVED | SF | 1100
14 | ELECTRIC METER REMOVED | EA | 1
15 | SIGN REMOVED | EA | 1
16 | SAWCUT | LF | 378
17 | CURB REMOVED | LF | 400
18 | ASPHALT PAVEMENT REMOVED | SY | 3613
19 | CONCRETE & BASE REMOVED | SF | 1511
20 | UTILITY TO BE REMOVED | LF | 900
21 | GAURDRAIL BARRICADE REMOVED | EA | 1
22 | UTILITY POLE TO BE RELOCATED | EA | 1
23 | LIGHT POLE TO BE RELOCATED | EA | 3
24
25
26
27
Total of Extended Prices for Unit Price Work (subject to final adjustment based on actual quantities) |  |  | DEMOLITION SUBTOTAL

## Earthwork
EARTHWORK BID FORM (C200)
Item No | Description | Unit | Estimated Quantity | Unit Price | Extended Price
1 | CLEARING & GRUBBING | AC | 13.41 | SEE DEMO | SEE DEMO
2 | TOPSOIL STRIPPING | CY | 7211
3 | SUITABLE CUT | CY | 8316
4 | STRUCTURAL FILL | CY | 23300
5 | SITE & FINISH GRADING (TOPSOIL RESPREAD) | CY | 3800
6 | BACKFILL CURBS | LF | 4485
7 | MOBILIZATION & DEMOBILIZATION | LS | 1
8 | DEWATERING ALLOWANCE | LS | 1 | 200000 | 200000
9 | (3) 4" SCHEDULE 40 PVC CONDUITS | LF | 354
10
11
12
13
Total of Extended Prices for Unit Price Work (subject to final adjustment based on actual quantities) |  |  | EARTHWORK SUBTOTAL

## Pavement
PAVEMENT BID FORM (C200, C300-C302, C600-C601, C700)
Item No | Description | Unit | Estimated Quantity | Unit Price | Extended Price
1 | 1.5" HMA SURFACE | SY | 6976
2 | TACK COAT | SY | 6976
3 | 3" HMA BASE | SY | 6976
4 | 12" #53 COMPACT AGGREGATE | SY | 6976
5 | CONCRETE ROLL CURB & GUTTER | LF | 4485
6 | CONCRETE SIDEWALK | SY | 1195
7 | FULL DEPTH PAVEMENT REPLACEMENT | SY | 81
8 | SUBGRADE STABILIZATION ALLOWANCE | LS | 1 | 160000 | 160000
9 | MAINTENANCE OF TRAFFIC | LS | 1
10
11
12
13
Total of Extended Prices for Unit Price Work (subject to final adjustment based on actual quantities) |  |  | PAVEMENT SUBTOTAL

## Lighting-Signage
LIGHTING/SIGNAGE BID FORM (C210)
Item No | Description | Unit | Estimated Quantity | Unit Price | Extended Price
1 | STOP SIGNS | EA | 5
2 | STREET SIGNS | EA | 4
3 | LIGHT POLES | EA | 14
4 | LIGHTING SERVICE POINT | EA | 1
5 | LIGHTING 2" PVC CONDUIT | LF | 2287
6 | LIGHTING COPPER CABLE | LF | 2287
7 | LIGHTING HANDHOLES | EA | 6
7 | END OF ROAD BARRICADE SIGNS | EA | 3
8
9
10
11
12
Total of Extended Prices for Unit Price Work (subject to final adjustment based on actual quantities) |  |  | LIGHTING/SIGNAGE SUBTOTAL

## Storm
STORM SEWER BID FORM (C400-C405, C415, C420, C610)
Item No | Description | Unit | Estimated Quantity | Unit Price | Extended Price
1 | OUTLET STRUCTURE | EA | 1
2 | STANDARD MANHOLE | EA | 13
3 | CURB INLET | EA | 17
4 | 12" RCP | LF | 283
5 | 15" RCP | LF | 687
6 | 18" RCP | LF | 772
7 | 21" RCP | LF | 168
8 | 24" RCP | LF | 274
9 | 12" END SECTION | EA | 2
10 | 15" END SECTION | EA | 4
11 | 18" END SECTION | EA | 4
12 | 21" END SECTION | EA | 1
13 | 24" END SECTION | EA | 3
14 | GRANULAR BACKFILL | TONS | 542
15 | STONE BEDDING | TONS | 23
16 | 6" DOUBLE-WALL PERF. SUBSURF. CURB UDERDRAIN | LF | 4466
17 | SSD RISERS | EA | 6
18 | BMP STRUCTURE | LS | 1
19 | 6" DOUBLE-WALL PERF. SUBSURF. SWALE UNDERDRAIN | LF | 1026
20
21
Total of Extended Prices for Unit Price Work (subject to final adjustment based on actual quantities) |  |  | STORM SEWER SUBTOTAL

## Sanitary
SANITARY SEWER BID FORM (C410-C411, C415, C420, C630)
Item No | Description | Unit | Estimated Quantity | Unit Price | Extended Price
1 | SANITARY MANHOLES 6'-8' | EA | 6
2 | 10" PVC 6'-8' | LF | 1449
3 | 6" PVC 6'-8' | LF | 1292
4 | 10" X 6" WYES | EA | 37
5 | STONE BEDDING | TONS | 42.535
6 | GRANULAR BACKFILL | TONS | 1218
7 | CONNECT TO EXISTING MH | EA | 2
8 | AIR & MANDREL TESTING | LF | 1449
9
10
11
12
Total of Extended Prices for Unit Price Work (subject to final adjustment based on actual quantities) |  |  | SANITARY SEWER SUBTOTAL

## Water
WATER MAIN BID FORM (C430, C620)
Item No | Description | Unit | Estimated Quantity | Unit Price | Extended Price
1 | 8" CLASS 52 DUCTILE IRON | LF | 2486
2 | FIRE HYDRANT | EA | 9
3 | 8" VALVES | EA | 12
4 | 8"X8" TEES | EA | 3
5 | 8" 11.25 DEG. BEND | EA | 7
6 | 8" 22.50 DEG. BEND | EA | 8
7 | 8" 45 DEG. BEND | EA | 2
8 | REDUCERS | EA | 1
9 | MISCELLANEOUS FITTINGS | LS | 1
10 | 1" COPPER SERVICE | LF | 365
11 | SERVICE TAPS | EA | 22
12 | CONNECT TO EXISTING MAIN | EA | 3
13 | TAP EXISTING MAIN | LS | 1
14 | GRANULAR BACKFILL | TONS | 79
15 | FLUSHING & TESTING | LF | 2486
16 | EX. HYDRANT CONNECTION | EA | 1
17 | DUAL SERVICE METER & PIT | EA | 14
18 | SINGLE SERVICE METER & PIT | EA | 6
19
20
21
22
Total of Extended Prices for Unit Price Work (subject to final adjustment based on actual quantities) |  |  | WATER MAIN SUBTOTAL

## Erosion Control
EROSION CONTROL BID FORM (C500, C510, C520-C522)
Item No | Description | Unit | Estimated Quantity | Unit Price | Extended Price
1 | INLET PROTECTION | EA | 35
2 | SILT FENCE | LF | 3661
3 | PAD SEEDING & MULCHING | AC | 2.53
4 | TEMP. SEEDING FUTURE AREA | SY | 38099
5 | PERM. SEEDING & MULCHING | SY | 38099
6 | BLANKET SEED AREAS, SWALES & PONDS | SY | 4450
7 | ROCK DONUT | EA | 3
8 | OUTLET PROTECTION | EA | 10
9 | CONSTRUCTION ENTRANCE | LS | 1
10 | STAGING AREA | LS | 1
11 | DUMPSTER | LS | 1
12 | CONCRETE WASH OUT AREA | LS | 1
13 | PORT-O-LET | LS | 1
14 | NOI SIGN POSTING | EA | 1
15
16
17
18
Total of Extended Prices for Unit Price Work (subject to final adjustment based on actual quantities) |  |  | EROSION CONTROL SUBTOTAL

## Landscape
LANDSCAPE BID FORM (L100)
Item No | Description | Unit | Estimated Quantity | Unit Price | Extended Price
1 | LANDSCAPING | LS | 1
2
3
4
5
Total of Extended Prices for Unit Price Work (subject to final adjustment based on actual quantities) |  |  | LANDSCAPE SUBTOTAL